## CETP ELEC TECHNICAL
Appendix 3 - Annex C - Electrical Technical Form
UNIDO Common Effluent Treatment Plant (CETP) in Sialkot Tannery Zone; Pakistan
| UNIDO ITB No. |  |  |  |  | Date:
Project: Mechanical and Electrical works, delivery and installation of process equipment, commissioning, training and trial operation.
TECHNICAL EVALUATION OF OFFERS FOR CETP WILL BE BASED ON THIS FORM
2. Electrical Work
| Ref. Spec. | Item Description | UNIT | QTY | OFFERED ITEM MEETS OR EXCEEDS THE SAMPLE TECHNICAL SPECIFICATIONS - Y/N | OFFERED MODEL (exact brand and model name etc.) | Remark (brochure, details, web link)
| 16 | E. ELECTRICAL WORKS
Following items of works (unless specifically stated otherwise) required for proper completion of each item as per specifications (Section-16 "General Provision for Electrical Works" shall be applicable to all BOQ items).
1 | 16.1, 16.13 | LOW VOLTAGE DIESEL GENERATOR (DG) SET
Following are the Low Voltage Diesel generator Sets.
|  | a) 1000 kW | Nos. | 2
|  | b) Spare parts for 1000 kW Low voltage D.G. Set as per standard requirement. | Lot | 2
2 | 16.4,16.9, 16.13 | L.T SWITCHBOARD
Following are the L.V Switchboard.
|  | a) SB-1 including 360 kVAR automatic cum manual PFI plant (7 stages). | Job | 1
|  | b) ESB-0 | Job | 1
3 | 16.5 | LT DISTRIBUTION BOARDS
4 | 16.6, 16.13 | MOTOR CONTROL CENTERS
Following are the MCC-Panels.
|  | a) MCC-Panel-1 | Job | 1
5 |  | LOW TENSION CABLES
6 | 16.10 | WIRING ACCESSORIES (INDUSTRIAL)
7 | 16.12 | CONDUITS AND PIPES
8 | 16.20 | SUPERVISORY CONTROL & DATA ACQUISTION
CONTROL PANELS
Following are the equipment for SCADA Control Panel.
|  | a) Power Supply | Nos | 2
|  | b) PLC | Nos | 1
|  | c) Backplane 1 | Nos | 2
|  | d) Backplane Expander | Nos | 2
|  | e) Backplane Expander Cable (1 m) | Nos | 1
|  | f) Empty Module | Nos | 5
|  | g) Terminal Strip 40 Points | Nos | 22
|  | h) Communication Module | Nos | 1
|  | i) Discrete input Module | Nos | 11
|  | j) Analoge input Module | Nos | 4
|  | k) Discrete output Module | Nos | 6
|  | l) Analoge output Module | Nos | 1
|  | m) EGX-100 GATEWAY | Nos | 4
|  | n) Power Supply | Nos | 4
|  | o) Ethernet Switch(Ethernet Managed Switch 6TX/2FX | Nos | 1
Multi-mode)
|  | p) Ethernet Switch(Ethernet Managed Switch 2TX/2FX | Nos | 1
Multi-mode)
|  | q) Patch Panel | Nos | 2
|  | r) Patch cord | Nos | 8
|  | s) Relays | Nos | 192
|  | t) PC Vue(single station) with SQL Server ad Dream Repor | Nos | 1
|  | u) SQL Server | Nos | 1
|  | Battery backup Panels. | Job | 1
| 1 | Evaluation of Background of bidder submitting proposal (to be completed) | Compliance Yes/No
| 1.1 | Local presence in Pakistan and capability to deliver all required services in Pakistan. After sale service either directly by local branch of the bidder, or also authorised agent.
| 1.2 | Company’s profile and references. Only Bidders with a proven track record and with references in similar projects will be considered. The Bidder should have a proven experience in design and installation of at least three (3) Effluent Treatment Plants with minimum 2,500 m3/day capacity. Bidders should indicate within references – what was their involvement e.g. preparation of the design, construction of similar Effluent Treatment Plants for tanneries, etc. For all references also contacts should be indicated. Company’s profile and references. Only Bidders with a proven track record and with references in similar projects will be considered. The Bidder should have a proven experience in design and installation of at least three (3) Effluent Treatment Plants with minimum 2,500 m3/day capacity. Bidders should indicate within references – what was their involvement e.g. preparation of the design, construction of similar Effluent Treatment Plants for tanneries, etc. For all references also contacts should be indicated.
| 1.3 | Technical compliance and technically acceptable equipment. Compliance with the specification and standards
| 1.4 | Technical content and completeness of the proposal as outlined in ToR/TE and all relevant documents, Annexes which are part of the ToR/TE.
| 1.5 | Compliance with the delivery requirement (INCOTERMs 2010- Delivery Duty Paid (DDP)).
| 1.6 | Compliance with guarantee/warranty requirements.
| 1.7 | In its bid the Bidder should confirm that all employees of Bidder and his/her sub-suppliers are treated properly and no discrimination, harassment or other events are present in the Bidder’s organizations.
| 1.8 | Agreement to the UNIDO contractual terms and conditions.
| 1.9 | Agreement to the UNIDO Model Contract
| 1.1 | Agreement to provide Performance Bank guarantee
| 2 | Evaluation of Technical Aspects of this Contract (to be completed)
| 2.1 | Understanding of- and adherence to the scope of services to be provided. This will include a management plan, details on quality control / quality assurance measures, material sourcing details, laboratory testing plans, risk management and in-general compliance / management measures to ensure the work is completed as per the Technical Specifications. Drawings and other relevant documents in Annexes.
| 2.2 | Qualification and experience of proposed key personnel. Complete information should be provided by the bidder, including, full CVs of the proposed team members, a description of the project’s scope and magnitude; details of the bidder’s role and activities during planning, supplying of all items, installation, commissioning, training and other relevant activities.
| 2.3 | Time schedule for execution of the services: UNIDO will evaluate all information available with respect to the bidder’s ability to develop a project schedule, execute according to that schedule and complete deliverables on time. A bar chart time schedule divided into weeks should be submitted.
| 2.4 | Bidders’ organization and facilities for accomplishing the requirements: Demonstrated capability to deliver required services in Pakistan. The Bidder should demonstrate presence in Pakistan.
| 2.5 | Qualification of the sub-contractors – details of subcontractors. Details of the subcontractors, including references of the subcontractor.
| 2.6 | Safety plan – preparation of site specific safety plan, which outlines measures to protect the site, plant and personnel. At a minimum all workers should be provided with PPE (closed-toe working boots, safety hard hats, gloves, ear / eye protection and visibility clothing / vests). Information and statement of fair treatment and no discrimination, harassment has to be provided (e.g. company policy).
| 2.7 | SPARE PARTS In the event spare parts are normally delivered with the equipment but are not mentioned in the specifications, please indicate in your Bid the minimum quantity of spare parts required for two (2) years of operations.